Process or Materials Review Request Form

Request Title: Request to use OSTEMER 324 and OSTEMER 322 in Lab Mavericks  Requestor: Naga Gopi Devaraju						Date: 01/28/2020

Non-SNF staff, please complete the following:

Badger ID: 790017512

Company name/PI: Takara Bio USA (PI: Naga Gopi Devaraju)

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

OSTEMER 324 Crystal Clear and OSTEMER 322 Flex

- Vendor/manufacturer info: address and phone number, website URL.

https://www.ostemers.com/ostemer-products/

Mercene Labs AB

Teknikringen 38

114 28 Stockholm

Sweden
VAT: SE556883735401

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

We plan to fabricate microfluidic devices using this material.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

This material will be used to replicate features from a patterned 4” silicon wafer. This is a dual cure thermoset polymer with thiol and epoxy functional groups. First stage curing involves UV cure at ~365nm and second and final cure will be performed at 110C. A mixer (thinky), spin coater, UV cure station, and thermal oven will be required for the fabrication of the chip.

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

500gm of liquid material for each type (includes both parts A&B). This material will be stored and used for processing in Lab 155 Mavericks.

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

Yes, this material will be stored at SNF. TDS and SDS attached.

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

Completely cured material comprising of both PartA and PartB can be discarded as regular waste. Uncured materials will be handled as hazardous materials.

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date:

V1.0