Request Title:  Ce(iPrCp)3 for CeO2 ALD

Requestor: Yujo Zhouchangwan Yu					Date:  06/05/2020

Non-SNF staff, please complete the following:

Badger ID:	zyu21

Company name/PI: Prof. Paul McIntyre

Send completed form to: snf-promcommittee@lists.stanford.edu

- The chemical or material. Please provide all common names, trade names, and CAS numbers where appropriate. Include an MSDS, if available; or provide the reason, if not. Make sure to include information for any new secondary chemicals (such as a developer for a new resist). Read the MSDSs as well as the Stanford Chemical Storage Groups to determine the Storage Group Identifier and Main Hazard Class of your chemical/material.

Names: Ce(iPrCp)3, Tris(i-propylcyclopentadienyl)cerium (III)

CAS number: 122528-16-9

MSDS attached

- Vendor/manufacturer info: address and phone number, website URL.

Versum Materials US,

LLC 8555 South River Parkway Tempe,

AZ 85284-2601

Exporter EIN No. 47-5632014

www.versummaterials.com

- Reason for request: Please give serious thought to this. If you have any process information (application notes from the vendor, protocol from another lab, experimental methods section of an article), please include it, preferably as attachments. Ask yourself these questions: Is this the latest procedure? Are there newer/safer alternatives that will also work for my project? Will any of the current SNF approved chemicals and materials work for me?

My research is focused on HfO2 based ferroelectric materials for memory applications. The ferroelectric properties in HfO2 only exist in orthorhombic phase, which requires a high temperature annealing process. Based on the ternary phase diagram of HfO2, ZrO2 and CeO2 (attached slides), we propose that by adding a small amount of CeO2 (~10%) in HfZrOx, the annealing temperature can be reduced to meet the requirement of BEOL process < 400C. SNF does not have an existing ALD process of CeO2, so we would like to request for the new precursor Ce(iPrCp)3 for ALD growth of CeO2.

- Process Flow: Please provide a detailed process flow description on how and where you proposed to use this chemical. This should include all Lab equipment to be used for processing your wafers once your new chemical or material has been used (even if your new material is a film that is removed, it may still pose potential contamination concerns.) Make sure to include wet benches. Please note that f the chemical/material is to be used in any the "clean" equipment, purity specifications will be needed. This is most important for chemicals/material that are not normally used for VLSI device fabrication. To be allowed into a "clean" tool, the material should MOS grade or better.

Fiji3 and Fiji2: ALD growth of CeO2 with the new precursor Ce(iPrCp)3

RTP

Headway2, svgcoater, svgdeveloper, ASML, Karl Suss, Heidelberg

AJA evaporator

Wbflexcorr1-4

PT-MTL

Matrix

Note: according to the vender, this Ce precursor should not have negative effects on the dielectric quality of other films deposited in the same ALD chamber, but we will do extra 100 cycles of HfO2 deposition after CeO2 just in case.

- Amount and form. How much will you bring in? Is it solid, powder or liquid? (Note: as a general rule, powders are not permitted in the cleanroom.) Do you need to mix it to use it?

I will bring 15g in ALD in solid form, in ALD precursor cylinder

- Storage: Will you be storing your chemical/material at SNF? If so, please note any potential reactivity’s (this should be on the MSDS). Storage groups A, B, D and L are stored in the yellow solvent cabinet in the furnace support area, while storage groups C, E, F and G are stored on top of one of the Pass-through Carts. Ensure your chemical container or material is properly labeled. If there is no available room, it must be stored by in the bulk storage area. You will then need to obtain it from receiving area personnel each time you want to use it and return it to them when you are finished using it (or each time you leave the lab). Note that there is no storage of chemicals/materials in the processing lab or at any wet bench.

Yes, this material will be stored in SNF. Michelle has helped me log in chemtracker and it is in storage group B.

Chemical Stability: Stable under normal conditions.

Conditions to avoid: Heat, flames and sparks. Exposure to moisture. Exposure to air.

Materials to avoid: Oxidizing agents. Humid air. Water.

Hazardous decomposition products : Carbon monoxide.
Carbon dioxide (CO2).
Hydrolysis products:
Metal oxides.
Flammable hydrocarbon fragments.

Possibility of hazardous Reactions/Reactivity : Decomposes in contact with water

- Disposal: How will you dispose of any waste or excess chemical or material? In your discussions with experts and vendors, try to determine the best way to dispose of your spent chemicals and by-products. Please refer to the SNF Lab members Safety Manual for the different methods of waste disposal that are available in the lab.

We can ship the excess back to the vender

To be completed by the PROM COMMITTEE:

Special handling requirements:

On-going approval or staff interaction requirements:

Approved By/Date: